CERTIFICED MEDICAL DEVICE

**MRI**

|  |  |  |
| --- | --- | --- |
| **Report N:** COA/FP/543 | | **Certification Date:** 25-08-2022 |
| **Lot N:** 543 | **MFG Date:** 08-22 | **EXP Date:** 8-27 |
| **Lot Size:** 852 | **Sample Size:** 502 | **Ref N:** V254 |

**Description:** Measuring device.

**Instruction for use:** As per the insctruction given .

**Parameters considered for analysis of MRI:**

|  |  |  |  |
| --- | --- | --- | --- |
| S. N. | Testing parameter for analysis | Acceptance criteria | Mode of inspection |
|  | Thickness | 10.0+0.13 | Vernier caliper |
|  | Width | 5.0±0.13 | Vernier caliper |
|  | Length | 30.0±1.12 | Vernier caliper |
|  | Hole size | 2.0±0.17 | Vernier caliper |
|  | Shape | Similar | Visual |
|  | Thickness | Similar | Vernier caliper |
|  | Width | Similar | Vernier caliper |
|  | Length | Similar | Vernier caliper |
|  | Hole size | Similar | Vernier caliper |
|  | Shape | Similar | Visual |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analysis | Thickness | Width | Length | Hole size | Shape | Thickness | Width | Length | Hole size | Shape |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 10.09 | 4.93 | 30.2 | 2.16 | C | C | C | C | C | C |
| 2 | 10.12 | 5.03 | 30.35 | 2.03 | C | C | C | C | C | C |
| 3 | 10.12 | 5.02 | 30.05 | 2.04 | C | C | C | C | C | C |
| 4 | 10.11 | 5.02 | 29.48 | 1.99 | C | C | C | C | C | C |
| 5 | 10.08 | 5.07 | 31.12 | 2.05 | C | C | C | C | C | C |
| 6 | 10.05 | 4.9 | 30.04 | 1.96 | C | C | C | C | C | C |
| 7 | 10.13 | 5.08 | 30.79 | 1.89 | C | C | C | C | C | C |
| 8 | 10.09 | 5.0 | 30.05 | 2.17 | C | C | C | C | C | C |
| 9 | 10.04 | 5.02 | 31.08 | 1.92 | C | C | C | C | C | C |
| 10 | 10.13 | 5.04 | 29.06 | 2.06 | C | C | C | C | C | C |
| 11 | 10.12 | 5.08 | 30.47 | 2.14 | C | C | C | C | C | C |
| 12 | 10.05 | 5.09 | 30.81 | 2.14 | C | C | C | C | C | C |
| 13 | 10.11 | 4.9 | 29.73 | 2.15 | C | C | C | C | C | C |
| 14 | 10.09 | 5.05 | 28.89 | 1.96 | C | C | C | C | C | C |
| 15 | 10.07 | 4.88 | 31.01 | 2.06 | C | C | C | C | C | C |
| 16 | 10.09 | 4.92 | 29.24 | 1.97 | C | C | C | C | C | C |
| 17 | 10.11 | 5.08 | 29.52 | 2.07 | C | C | C | C | C | C |
| 18 | 10.09 | 5.07 | 28.9 | 1.98 | C | C | C | C | C | C |
| 19 | 10.07 | 5.12 | 30.3 | 1.93 | C | C | C | C | C | C |
| 20 | 10.07 | 4.92 | 29.67 | 1.98 | C | C | C | C | C | C |
| 21 | 10.12 | 4.9 | 30.98 | 2.17 | C | C | C | C | C | C |
| 22 | 10.06 | 5.1 | 29.68 | 1.98 | C | C | C | C | C | C |
| 23 | 10.0 | 5.02 | 29.87 | 1.89 | C | C | C | C | C | C |
| 24 | 10.08 | 4.96 | 29.77 | 1.98 | C | C | C | C | C | C |
| 25 | 10.04 | 4.98 | 30.73 | 2.15 | C | C | C | C | C | C |
| 26 | 10.04 | 4.93 | 30.98 | 2.02 | C | C | C | C | C | C |
| 27 | 10.11 | 4.88 | 29.68 | 2.06 | C | C | C | C | C | C |
| 28 | 10.11 | 4.87 | 30.03 | 2.06 | C | C | C | C | C | C |
| 29 | 10.11 | 4.88 | 29.97 | 2.05 | C | C | C | C | C | C |
| 30 | 10.06 | 4.91 | 30.27 | 2.12 | C | C | C | C | C | C |
| 31 | 10.02 | 4.9 | 30.48 | 1.94 | C | C | C | C | C | C |
| 32 | 10.1 | 5.03 | 30.89 | 2.06 | C | C | C | C | C | C |
| 33 | 10.11 | 4.97 | 29.05 | 1.89 | C | C | C | C | C | C |
| 34 | 10.06 | 4.89 | 30.12 | 2.02 | C | C | C | C | C | C |
| 35 | 10.04 | 5.05 | 29.87 | 1.89 | C | C | C | C | C | C |
| 36 | 10.02 | 5.12 | 29.17 | 1.98 | C | C | C | C | C | C |
| 37 | 10.07 | 4.87 | 29.87 | 1.88 | C | C | C | C | C | C |
| 38 | 10.05 | 4.93 | 30.79 | 2.07 | C | C | C | C | C | C |
| 39 | 10.11 | 4.89 | 30.6 | 2.03 | C | C | C | C | C | C |
| 40 | 10.03 | 4.88 | 31.08 | 1.97 | C | C | C | C | C | C |
| 41 | 10.04 | 4.94 | 29.59 | 1.94 | C | C | C | C | C | C |
| 42 | 10.13 | 4.89 | 30.63 | 2.13 | C | C | C | C | C | C |
| 43 | 10.06 | 4.89 | 29.76 | 1.97 | C | C | C | C | C | C |
| 44 | 10.03 | 5.08 | 31.08 | 2.04 | C | C | C | C | C | C |
| 45 | 10.08 | 4.9 | 29.41 | 1.98 | C | C | C | C | C | C |
| 46 | 10.01 | 5.02 | 29.19 | 1.87 | C | C | C | C | C | C |
| 47 | 10.05 | 5.13 | 30.03 | 1.87 | C | C | C | C | C | C |
| 48 | 10.11 | 4.97 | 29.27 | 1.91 | C | C | C | C | C | C |
| 49 | 10.01 | 5.03 | 30.66 | 1.91 | C | C | C | C | C | C |
| 50 | 10.11 | 4.87 | 30.06 | 2.13 | C | C | C | C | C | C |
| 51 | 10.02 | 4.91 | 30.64 | 1.93 | C | C | C | C | C | C |
| 52 | 10.03 | 4.88 | 30.21 | 2.07 | C | C | C | C | C | C |
| 53 | 10.03 | 5.02 | 28.99 | 1.92 | C | C | C | C | C | C |
| 54 | 10.12 | 5.12 | 29.12 | 2.07 | C | C | C | C | C | C |
| 55 | 10.07 | 4.98 | 29.94 | 1.97 | C | C | C | C | C | C |
| 56 | 10.13 | 5.09 | 30.94 | 1.9 | C | C | C | C | C | C |
| 57 | 10.12 | 4.97 | 30.06 | 2.0 | C | C | C | C | C | C |
| 58 | 10.07 | 4.95 | 29.12 | 1.9 | C | C | C | C | C | C |
| 59 | 10.05 | 4.91 | 28.96 | 1.85 | C | C | C | C | C | C |
| 60 | 10.03 | 4.92 | 29.63 | 2.05 | C | C | C | C | C | C |
| 61 | 10.05 | 5.03 | 29.93 | 2.04 | C | C | C | C | C | C |
| 62 | 10.12 | 4.88 | 29.9 | 2.12 | C | C | C | C | C | C |
| 63 | 10.1 | 5.09 | 29.47 | 1.83 | C | C | C | C | C | C |
| 64 | 10.06 | 5.03 | 29.69 | 2.05 | C | C | C | C | C | C |
| 65 | 10.08 | 5.11 | 29.9 | 1.89 | C | C | C | C | C | C |
| 66 | 10.03 | 4.95 | 30.08 | 2.06 | C | C | C | C | C | C |
| 67 | 10.03 | 4.98 | 30.39 | 2.14 | C | C | C | C | C | C |
| 68 | 10.02 | 4.89 | 30.88 | 2.07 | C | C | C | C | C | C |
| 69 | 10.09 | 4.9 | 30.51 | 2.14 | C | C | C | C | C | C |
| 70 | 10.1 | 5.01 | 30.09 | 2.1 | C | C | C | C | C | C |
| 71 | 10.04 | 4.91 | 29.75 | 2.04 | C | C | C | C | C | C |
| 72 | 10.05 | 4.97 | 30.64 | 1.91 | C | C | C | C | C | C |
| 73 | 10.09 | 4.9 | 29.17 | 2.1 | C | C | C | C | C | C |
| 74 | 10.1 | 5.09 | 29.35 | 1.87 | C | C | C | C | C | C |
| 75 | 10.07 | 4.98 | 30.89 | 1.94 | C | C | C | C | C | C |
| 76 | 10.02 | 5.02 | 29.73 | 2.08 | C | C | C | C | C | C |
| 77 | 10.09 | 5.09 | 29.91 | 1.9 | C | C | C | C | C | C |
| 78 | 10.02 | 4.94 | 29.24 | 2.14 | C | C | C | C | C | C |
| 79 | 10.1 | 4.98 | 29.13 | 2.12 | C | C | C | C | C | C |
| 80 | 10.04 | 4.88 | 30.76 | 2.1 | C | C | C | C | C | C |
| 81 | 10.06 | 4.9 | 29.34 | 1.89 | C | C | C | C | C | C |
| 82 | 10.12 | 5.01 | 31.04 | 1.87 | C | C | C | C | C | C |
| 83 | 10.1 | 5.11 | 30.45 | 2.17 | C | C | C | C | C | C |
| 84 | 10.13 | 4.96 | 29.16 | 1.85 | C | C | C | C | C | C |
| 85 | 10.05 | 4.95 | 30.96 | 2.07 | C | C | C | C | C | C |
| 86 | 10.06 | 4.9 | 30.67 | 1.88 | C | C | C | C | C | C |
| 87 | 10.0 | 5.02 | 30.8 | 2.12 | C | C | C | C | C | C |
| 88 | 10.0 | 5.04 | 29.23 | 1.91 | C | C | C | C | C | C |
| 89 | 10.08 | 4.88 | 29.56 | 2.16 | C | C | C | C | C | C |
| 90 | 10.08 | 4.98 | 29.15 | 2.03 | C | C | C | C | C | C |
| 91 | 10.04 | 5.09 | 29.46 | 1.84 | C | C | C | C | C | C |
| 92 | 10.09 | 5.12 | 30.39 | 2.07 | C | C | C | C | C | C |
| 93 | 10.02 | 5.09 | 30.82 | 1.83 | C | C | C | C | C | C |
| 94 | 10.06 | 5.05 | 30.43 | 1.9 | C | C | C | C | C | C |
| 95 | 10.05 | 4.97 | 30.51 | 2.15 | C | C | C | C | C | C |
| 96 | 10.07 | 4.96 | 30.42 | 1.98 | C | C | C | C | C | C |
| 97 | 10.0 | 5.02 | 29.93 | 2.15 | C | C | C | C | C | C |
| 98 | 10.1 | 4.96 | 31.12 | 2.01 | C | C | C | C | C | C |
| 99 | 10.09 | 5.02 | 30.69 | 1.85 | C | C | C | C | C | C |
| 100 | 10.05 | 5.07 | 30.06 | 2.09 | C | C | C | C | C | C |
| 101 | 10.13 | 5.13 | 30.18 | 1.85 | C | C | C | C | C | C |
| 102 | 10.13 | 4.93 | 30.94 | 2.12 | C | C | C | C | C | C |
| 103 | 10.08 | 5.1 | 29.34 | 1.85 | C | C | C | C | C | C |
| 104 | 10.09 | 5.08 | 30.39 | 1.87 | C | C | C | C | C | C |
| 105 | 10.09 | 5.03 | 30.52 | 2.02 | C | C | C | C | C | C |
| 106 | 10.12 | 4.95 | 29.0 | 1.97 | C | C | C | C | C | C |
| 107 | 10.06 | 5.0 | 29.32 | 2.14 | C | C | C | C | C | C |
| 108 | 10.0 | 4.96 | 30.43 | 1.89 | C | C | C | C | C | C |
| 109 | 10.06 | 5.08 | 31.1 | 2.14 | C | C | C | C | C | C |
| 110 | 10.02 | 4.96 | 30.45 | 1.9 | C | C | C | C | C | C |
| 111 | 10.03 | 4.9 | 30.08 | 1.87 | C | C | C | C | C | C |
| 112 | 10.06 | 5.1 | 30.95 | 1.83 | C | C | C | C | C | C |
| 113 | 10.03 | 5.09 | 30.51 | 1.87 | C | C | C | C | C | C |
| 114 | 10.04 | 4.89 | 29.1 | 2.04 | C | C | C | C | C | C |
| 115 | 10.04 | 5.0 | 30.23 | 2.14 | C | C | C | C | C | C |
| 116 | 10.1 | 4.99 | 28.98 | 1.87 | C | C | C | C | C | C |
| 117 | 10.11 | 5.02 | 30.83 | 1.92 | C | C | C | C | C | C |
| 118 | 10.01 | 4.87 | 30.96 | 2.03 | C | C | C | C | C | C |
| 119 | 10.09 | 5.11 | 31.06 | 2.15 | C | C | C | C | C | C |
| 120 | 10.11 | 4.92 | 29.64 | 2.06 | C | C | C | C | C | C |
| 121 | 10.06 | 5.07 | 28.94 | 2.14 | C | C | C | C | C | C |
| 122 | 10.06 | 5.0 | 31.09 | 2.12 | C | C | C | C | C | C |
| 123 | 10.11 | 4.87 | 30.6 | 2.06 | C | C | C | C | C | C |
| 124 | 10.1 | 5.0 | 29.24 | 2.1 | C | C | C | C | C | C |
| 125 | 10.01 | 5.07 | 30.14 | 1.93 | C | C | C | C | C | C |
| 126 | 10.1 | 5.11 | 29.26 | 1.91 | C | C | C | C | C | C |
| 127 | 10.06 | 5.07 | 31.03 | 1.88 | C | C | C | C | C | C |
| 128 | 10.1 | 5.05 | 30.94 | 2.0 | C | C | C | C | C | C |
| 129 | 10.11 | 5.1 | 30.33 | 1.83 | C | C | C | C | C | C |
| 130 | 10.01 | 5.05 | 30.3 | 2.0 | C | C | C | C | C | C |
| 131 | 10.12 | 4.93 | 29.85 | 1.91 | C | C | C | C | C | C |
| 132 | 10.11 | 5.08 | 30.2 | 2.01 | C | C | C | C | C | C |
| 133 | 10.03 | 4.95 | 30.52 | 1.93 | C | C | C | C | C | C |
| 134 | 10.05 | 4.87 | 30.27 | 2.07 | C | C | C | C | C | C |
| 135 | 10.1 | 4.97 | 30.86 | 1.87 | C | C | C | C | C | C |
| 136 | 10.04 | 4.91 | 29.78 | 2.05 | C | C | C | C | C | C |
| 137 | 10.05 | 5.02 | 29.53 | 1.94 | C | C | C | C | C | C |
| 138 | 10.07 | 5.0 | 30.41 | 1.98 | C | C | C | C | C | C |
| 139 | 10.02 | 5.05 | 30.59 | 1.85 | C | C | C | C | C | C |
| 140 | 10.02 | 5.0 | 30.73 | 2.02 | C | C | C | C | C | C |
| 141 | 10.06 | 5.06 | 29.49 | 1.88 | C | C | C | C | C | C |
| 142 | 10.1 | 4.95 | 29.9 | 2.13 | C | C | C | C | C | C |
| 143 | 10.04 | 4.96 | 29.93 | 2.13 | C | C | C | C | C | C |
| 144 | 10.02 | 4.92 | 30.38 | 2.09 | C | C | C | C | C | C |
| 145 | 10.07 | 4.99 | 30.52 | 2.09 | C | C | C | C | C | C |
| 146 | 10.1 | 4.94 | 31.09 | 1.98 | C | C | C | C | C | C |
| 147 | 10.1 | 5.04 | 29.44 | 1.98 | C | C | C | C | C | C |
| 148 | 10.05 | 4.9 | 30.01 | 1.88 | C | C | C | C | C | C |
| 149 | 10.11 | 4.96 | 29.71 | 2.13 | C | C | C | C | C | C |
| 150 | 10.07 | 5.07 | 29.21 | 2.05 | C | C | C | C | C | C |
| 151 | 10.09 | 4.96 | 30.66 | 2.0 | C | C | C | C | C | C |
| 152 | 10.01 | 5.1 | 29.24 | 2.03 | C | C | C | C | C | C |
| 153 | 10.04 | 5.13 | 30.91 | 1.85 | C | C | C | C | C | C |
| 154 | 10.06 | 5.08 | 30.25 | 2.14 | C | C | C | C | C | C |
| 155 | 10.13 | 5.08 | 30.37 | 1.83 | C | C | C | C | C | C |
| 156 | 10.06 | 5.01 | 29.74 | 1.91 | C | C | C | C | C | C |
| 157 | 10.07 | 4.97 | 29.57 | 1.91 | C | C | C | C | C | C |
| 158 | 10.12 | 4.97 | 30.0 | 2.08 | C | C | C | C | C | C |
| 159 | 10.08 | 5.08 | 30.23 | 1.96 | C | C | C | C | C | C |
| 160 | 10.06 | 4.94 | 30.64 | 2.02 | C | C | C | C | C | C |
| 161 | 10.09 | 4.91 | 29.24 | 2.08 | C | C | C | C | C | C |
| 162 | 10.07 | 5.09 | 29.9 | 1.97 | C | C | C | C | C | C |
| 163 | 10.09 | 4.93 | 30.26 | 1.92 | C | C | C | C | C | C |
| 164 | 10.1 | 5.03 | 29.82 | 2.07 | C | C | C | C | C | C |
| 165 | 10.03 | 5.1 | 29.12 | 1.96 | C | C | C | C | C | C |
| 166 | 10.13 | 5.09 | 29.68 | 1.96 | C | C | C | C | C | C |
| 167 | 10.01 | 5.04 | 30.26 | 1.87 | C | C | C | C | C | C |
| 168 | 10.01 | 4.93 | 29.37 | 2.13 | C | C | C | C | C | C |
| 169 | 10.06 | 4.95 | 30.75 | 2.11 | C | C | C | C | C | C |
| 170 | 10.11 | 4.89 | 29.54 | 1.89 | C | C | C | C | C | C |
| 171 | 10.12 | 5.02 | 29.61 | 2.06 | C | C | C | C | C | C |
| 172 | 10.07 | 5.11 | 29.28 | 2.12 | C | C | C | C | C | C |
| 173 | 10.05 | 4.98 | 29.41 | 1.93 | C | C | C | C | C | C |
| 174 | 10.1 | 4.98 | 31.02 | 1.87 | C | C | C | C | C | C |
| 175 | 10.05 | 5.11 | 30.19 | 2.05 | C | C | C | C | C | C |
| 176 | 10.11 | 5.0 | 30.17 | 2.09 | C | C | C | C | C | C |
| 177 | 10.1 | 4.88 | 29.24 | 1.83 | C | C | C | C | C | C |
| 178 | 10.1 | 5.1 | 31.02 | 1.85 | C | C | C | C | C | C |
| 179 | 10.08 | 4.89 | 30.98 | 2.1 | C | C | C | C | C | C |
| 180 | 10.13 | 5.04 | 29.54 | 2.14 | C | C | C | C | C | C |
| 181 | 10.09 | 5.09 | 29.92 | 1.88 | C | C | C | C | C | C |
| 182 | 10.12 | 5.07 | 29.58 | 2.01 | C | C | C | C | C | C |
| 183 | 10.13 | 4.89 | 29.0 | 1.96 | C | C | C | C | C | C |
| 184 | 10.07 | 4.93 | 29.82 | 1.97 | C | C | C | C | C | C |
| 185 | 10.1 | 4.91 | 29.44 | 2.14 | C | C | C | C | C | C |
| 186 | 10.05 | 5.13 | 28.96 | 1.94 | C | C | C | C | C | C |
| 187 | 10.08 | 5.01 | 29.8 | 2.01 | C | C | C | C | C | C |
| 188 | 10.02 | 4.9 | 30.24 | 2.13 | C | C | C | C | C | C |
| 189 | 10.12 | 5.1 | 30.16 | 1.96 | C | C | C | C | C | C |
| 190 | 10.11 | 4.97 | 30.43 | 2.07 | C | C | C | C | C | C |
| 191 | 10.06 | 5.04 | 30.9 | 1.85 | C | C | C | C | C | C |
| 192 | 10.02 | 4.9 | 29.47 | 2.05 | C | C | C | C | C | C |
| 193 | 10.02 | 4.93 | 29.55 | 1.93 | C | C | C | C | C | C |
| 194 | 10.03 | 4.9 | 29.67 | 2.06 | C | C | C | C | C | C |
| 195 | 10.11 | 4.88 | 30.8 | 1.94 | C | C | C | C | C | C |
| 196 | 10.08 | 5.07 | 29.55 | 1.92 | C | C | C | C | C | C |
| 197 | 10.12 | 4.99 | 30.47 | 1.97 | C | C | C | C | C | C |
| 198 | 10.09 | 5.02 | 29.04 | 1.97 | C | C | C | C | C | C |
| 199 | 10.03 | 5.02 | 28.96 | 1.87 | C | C | C | C | C | C |
| 200 | 10.08 | 4.87 | 29.37 | 1.99 | C | C | C | C | C | C |
| 201 | 10.09 | 5.05 | 30.7 | 1.87 | C | C | C | C | C | C |
| 202 | 10.12 | 5.12 | 29.55 | 2.01 | C | C | C | C | C | C |
| 203 | 10.0 | 4.92 | 30.19 | 1.98 | C | C | C | C | C | C |
| 204 | 10.09 | 4.97 | 30.44 | 1.85 | C | C | C | C | C | C |
| 205 | 10.07 | 5.08 | 28.98 | 2.02 | C | C | C | C | C | C |
| 206 | 10.06 | 4.92 | 28.96 | 1.84 | C | C | C | C | C | C |
| 207 | 10.01 | 5.02 | 30.82 | 2.16 | C | C | C | C | C | C |
| 208 | 10.09 | 4.91 | 29.0 | 1.87 | C | C | C | C | C | C |
| 209 | 10.11 | 5.01 | 30.34 | 2.06 | C | C | C | C | C | C |
| 210 | 10.11 | 4.98 | 31.04 | 1.93 | C | C | C | C | C | C |
| 211 | 10.08 | 4.92 | 30.37 | 1.97 | C | C | C | C | C | C |
| 212 | 10.05 | 5.1 | 29.96 | 1.98 | C | C | C | C | C | C |
| 213 | 10.1 | 5.07 | 28.93 | 1.96 | C | C | C | C | C | C |
| 214 | 10.06 | 4.95 | 29.98 | 1.89 | C | C | C | C | C | C |
| 215 | 10.02 | 4.96 | 30.75 | 2.15 | C | C | C | C | C | C |
| 216 | 10.11 | 5.06 | 29.48 | 1.98 | C | C | C | C | C | C |
| 217 | 10.02 | 5.06 | 30.58 | 1.89 | C | C | C | C | C | C |
| 218 | 10.13 | 4.95 | 29.56 | 2.08 | C | C | C | C | C | C |
| 219 | 10.03 | 5.03 | 28.91 | 1.98 | C | C | C | C | C | C |
| 220 | 10.06 | 5.11 | 29.83 | 2.0 | C | C | C | C | C | C |
| 221 | 10.02 | 5.0 | 29.72 | 1.9 | C | C | C | C | C | C |
| 222 | 10.01 | 5.08 | 29.18 | 1.99 | C | C | C | C | C | C |
| 223 | 10.09 | 4.95 | 28.99 | 2.16 | C | C | C | C | C | C |
| 224 | 10.09 | 5.1 | 29.03 | 1.97 | C | C | C | C | C | C |
| 225 | 10.12 | 4.94 | 29.34 | 2.14 | C | C | C | C | C | C |
| 226 | 10.04 | 4.96 | 30.94 | 2.05 | C | C | C | C | C | C |
| 227 | 10.02 | 4.88 | 31.11 | 2.1 | C | C | C | C | C | C |
| 228 | 10.08 | 4.95 | 29.73 | 2.1 | C | C | C | C | C | C |
| 229 | 10.11 | 5.01 | 29.73 | 2.08 | C | C | C | C | C | C |
| 230 | 10.02 | 5.02 | 28.93 | 1.98 | C | C | C | C | C | C |
| 231 | 10.08 | 4.92 | 29.54 | 2.13 | C | C | C | C | C | C |
| 232 | 10.0 | 5.13 | 30.71 | 2.15 | C | C | C | C | C | C |
| 233 | 10.06 | 4.92 | 29.12 | 2.05 | C | C | C | C | C | C |
| 234 | 10.05 | 5.1 | 30.56 | 1.88 | C | C | C | C | C | C |
| 235 | 10.13 | 5.1 | 30.77 | 1.9 | C | C | C | C | C | C |
| 236 | 10.12 | 5.01 | 29.13 | 1.86 | C | C | C | C | C | C |
| 237 | 10.03 | 4.93 | 31.01 | 2.01 | C | C | C | C | C | C |
| 238 | 10.11 | 4.99 | 30.21 | 2.04 | C | C | C | C | C | C |
| 239 | 10.04 | 4.91 | 29.35 | 2.15 | C | C | C | C | C | C |
| 240 | 10.02 | 4.88 | 30.23 | 1.93 | C | C | C | C | C | C |
| 241 | 10.11 | 5.09 | 30.17 | 2.01 | C | C | C | C | C | C |
| 242 | 10.11 | 4.95 | 30.2 | 2.05 | C | C | C | C | C | C |
| 243 | 10.03 | 5.12 | 29.43 | 2.01 | C | C | C | C | C | C |
| 244 | 10.07 | 4.88 | 30.53 | 2.03 | C | C | C | C | C | C |
| 245 | 10.13 | 5.04 | 30.85 | 2.12 | C | C | C | C | C | C |
| 246 | 10.02 | 5.07 | 30.29 | 1.98 | C | C | C | C | C | C |
| 247 | 10.01 | 5.02 | 29.59 | 2.07 | C | C | C | C | C | C |
| 248 | 10.08 | 5.08 | 31.08 | 1.88 | C | C | C | C | C | C |
| 249 | 10.08 | 5.0 | 29.38 | 2.05 | C | C | C | C | C | C |
| 250 | 10.09 | 4.98 | 29.16 | 2.12 | C | C | C | C | C | C |
| 251 | 10.11 | 5.08 | 29.97 | 2.1 | C | C | C | C | C | C |
| 252 | 10.01 | 4.98 | 29.51 | 1.96 | C | C | C | C | C | C |
| 253 | 10.04 | 5.02 | 30.09 | 1.97 | C | C | C | C | C | C |
| 254 | 10.03 | 5.09 | 29.76 | 2.0 | C | C | C | C | C | C |
| 255 | 10.03 | 4.93 | 29.29 | 2.14 | C | C | C | C | C | C |
| 256 | 10.11 | 4.93 | 29.01 | 2.0 | C | C | C | C | C | C |
| 257 | 10.03 | 5.13 | 29.62 | 2.06 | C | C | C | C | C | C |
| 258 | 10.06 | 4.87 | 30.93 | 1.9 | C | C | C | C | C | C |
| 259 | 10.07 | 4.93 | 30.15 | 2.13 | C | C | C | C | C | C |
| 260 | 10.04 | 4.97 | 30.76 | 2.15 | C | C | C | C | C | C |
| 261 | 10.03 | 4.87 | 29.7 | 1.84 | C | C | C | C | C | C |
| 262 | 10.05 | 5.09 | 31.03 | 1.96 | C | C | C | C | C | C |
| 263 | 10.13 | 5.03 | 29.24 | 2.06 | C | C | C | C | C | C |
| 264 | 10.05 | 4.95 | 29.8 | 1.92 | C | C | C | C | C | C |
| 265 | 10.02 | 5.06 | 29.1 | 2.09 | C | C | C | C | C | C |
| 266 | 10.03 | 5.08 | 31.02 | 2.08 | C | C | C | C | C | C |
| 267 | 10.01 | 5.1 | 29.53 | 1.94 | C | C | C | C | C | C |
| 268 | 10.11 | 4.92 | 28.92 | 2.06 | C | C | C | C | C | C |
| 269 | 10.02 | 4.88 | 30.1 | 1.99 | C | C | C | C | C | C |
| 270 | 10.06 | 4.97 | 30.01 | 1.84 | C | C | C | C | C | C |
| 271 | 10.03 | 5.1 | 30.3 | 1.89 | C | C | C | C | C | C |
| 272 | 10.06 | 4.88 | 28.93 | 2.04 | C | C | C | C | C | C |
| 273 | 10.07 | 5.1 | 30.48 | 1.88 | C | C | C | C | C | C |
| 274 | 10.13 | 5.08 | 30.55 | 2.06 | C | C | C | C | C | C |
| 275 | 10.06 | 5.02 | 29.17 | 1.94 | C | C | C | C | C | C |
| 276 | 10.03 | 5.08 | 30.8 | 2.14 | C | C | C | C | C | C |
| 277 | 10.0 | 5.06 | 31.04 | 1.89 | C | C | C | C | C | C |
| 278 | 10.12 | 5.07 | 30.17 | 1.96 | C | C | C | C | C | C |
| 279 | 10.11 | 4.96 | 29.92 | 1.87 | C | C | C | C | C | C |
| 280 | 10.1 | 5.09 | 30.83 | 1.94 | C | C | C | C | C | C |
| 281 | 10.1 | 5.06 | 29.5 | 2.02 | C | C | C | C | C | C |
| 282 | 10.06 | 4.97 | 30.21 | 2.06 | C | C | C | C | C | C |
| 283 | 10.1 | 5.02 | 29.15 | 2.05 | C | C | C | C | C | C |
| 284 | 10.01 | 4.95 | 30.96 | 2.14 | C | C | C | C | C | C |
| 285 | 10.12 | 5.09 | 29.3 | 1.94 | C | C | C | C | C | C |
| 286 | 10.02 | 4.96 | 30.05 | 1.96 | C | C | C | C | C | C |
| 287 | 10.09 | 4.95 | 29.36 | 1.99 | C | C | C | C | C | C |
| 288 | 10.07 | 5.04 | 30.91 | 1.89 | C | C | C | C | C | C |
| 289 | 10.05 | 4.95 | 30.1 | 1.92 | C | C | C | C | C | C |
| 290 | 10.11 | 4.98 | 30.58 | 1.96 | C | C | C | C | C | C |
| 291 | 10.11 | 4.89 | 29.42 | 1.99 | C | C | C | C | C | C |
| 292 | 10.09 | 5.09 | 30.29 | 1.93 | C | C | C | C | C | C |
| 293 | 10.08 | 4.95 | 29.77 | 1.84 | C | C | C | C | C | C |
| 294 | 10.11 | 5.04 | 28.99 | 2.15 | C | C | C | C | C | C |
| 295 | 10.07 | 5.06 | 29.36 | 2.02 | C | C | C | C | C | C |
| 296 | 10.04 | 4.89 | 29.7 | 2.01 | C | C | C | C | C | C |
| 297 | 10.02 | 5.13 | 30.22 | 2.15 | C | C | C | C | C | C |
| 298 | 10.04 | 4.91 | 30.58 | 1.98 | C | C | C | C | C | C |
| 299 | 10.07 | 4.99 | 29.37 | 1.96 | C | C | C | C | C | C |
| 300 | 10.09 | 5.06 | 29.97 | 2.02 | C | C | C | C | C | C |
| 301 | 10.1 | 4.96 | 30.36 | 2.12 | C | C | C | C | C | C |
| 302 | 10.0 | 4.99 | 29.63 | 2.1 | C | C | C | C | C | C |
| 303 | 10.11 | 4.94 | 30.56 | 1.91 | C | C | C | C | C | C |
| 304 | 10.04 | 5.03 | 28.94 | 1.9 | C | C | C | C | C | C |
| 305 | 10.08 | 5.11 | 29.97 | 2.11 | C | C | C | C | C | C |
| 306 | 10.0 | 5.08 | 29.49 | 2.15 | C | C | C | C | C | C |
| 307 | 10.02 | 5.04 | 30.56 | 1.89 | C | C | C | C | C | C |
| 308 | 10.04 | 4.98 | 30.92 | 2.13 | C | C | C | C | C | C |
| 309 | 10.11 | 4.9 | 29.4 | 2.11 | C | C | C | C | C | C |
| 310 | 10.0 | 4.92 | 28.88 | 1.93 | C | C | C | C | C | C |
| 311 | 10.04 | 5.01 | 29.96 | 2.01 | C | C | C | C | C | C |
| 312 | 10.1 | 5.05 | 30.84 | 1.87 | C | C | C | C | C | C |
| 313 | 10.0 | 5.11 | 30.06 | 2.14 | C | C | C | C | C | C |
| 314 | 10.04 | 5.06 | 30.11 | 1.87 | C | C | C | C | C | C |
| 315 | 10.02 | 5.1 | 31.0 | 2.13 | C | C | C | C | C | C |
| 316 | 10.12 | 4.98 | 29.74 | 1.87 | C | C | C | C | C | C |
| 317 | 10.04 | 4.91 | 29.35 | 1.9 | C | C | C | C | C | C |
| 318 | 10.04 | 5.07 | 30.96 | 2.16 | C | C | C | C | C | C |
| 319 | 10.1 | 4.97 | 30.82 | 1.91 | C | C | C | C | C | C |
| 320 | 10.08 | 4.93 | 28.9 | 1.88 | C | C | C | C | C | C |
| 321 | 10.13 | 5.13 | 30.92 | 2.02 | C | C | C | C | C | C |
| 322 | 10.06 | 5.02 | 29.13 | 2.0 | C | C | C | C | C | C |
| 323 | 10.02 | 4.89 | 29.99 | 1.84 | C | C | C | C | C | C |
| 324 | 10.06 | 4.96 | 31.06 | 2.12 | C | C | C | C | C | C |
| 325 | 10.09 | 4.93 | 29.97 | 1.86 | C | C | C | C | C | C |
| 326 | 10.01 | 4.96 | 29.53 | 2.06 | C | C | C | C | C | C |
| 327 | 10.05 | 4.95 | 30.54 | 1.84 | C | C | C | C | C | C |
| 328 | 10.13 | 4.91 | 28.97 | 2.03 | C | C | C | C | C | C |
| 329 | 10.13 | 5.1 | 29.95 | 2.11 | C | C | C | C | C | C |
| 330 | 10.12 | 5.06 | 31.03 | 1.97 | C | C | C | C | C | C |
| 331 | 10.01 | 5.01 | 29.44 | 2.06 | C | C | C | C | C | C |
| 332 | 10.02 | 5.11 | 30.1 | 2.11 | C | C | C | C | C | C |
| 333 | 10.06 | 5.0 | 30.05 | 1.98 | C | C | C | C | C | C |
| 334 | 10.07 | 5.0 | 30.83 | 2.0 | C | C | C | C | C | C |
| 335 | 10.07 | 4.95 | 30.76 | 1.85 | C | C | C | C | C | C |
| 336 | 10.11 | 4.98 | 29.14 | 2.15 | C | C | C | C | C | C |
| 337 | 10.09 | 4.99 | 29.09 | 2.0 | C | C | C | C | C | C |
| 338 | 10.06 | 4.88 | 30.25 | 1.91 | C | C | C | C | C | C |
| 339 | 10.01 | 5.03 | 30.57 | 1.96 | C | C | C | C | C | C |
| 340 | 10.07 | 4.97 | 29.89 | 2.05 | C | C | C | C | C | C |
| 341 | 10.07 | 4.99 | 29.66 | 2.07 | C | C | C | C | C | C |
| 342 | 10.11 | 4.95 | 30.78 | 2.05 | C | C | C | C | C | C |
| 343 | 10.09 | 4.89 | 30.83 | 2.05 | C | C | C | C | C | C |
| 344 | 10.06 | 4.89 | 29.02 | 1.92 | C | C | C | C | C | C |
| 345 | 10.07 | 5.11 | 30.12 | 2.1 | C | C | C | C | C | C |
| 346 | 10.04 | 4.88 | 30.02 | 1.85 | C | C | C | C | C | C |
| 347 | 10.1 | 5.09 | 29.41 | 1.97 | C | C | C | C | C | C |
| 348 | 10.07 | 5.11 | 28.96 | 2.14 | C | C | C | C | C | C |
| 349 | 10.07 | 4.95 | 29.79 | 2.08 | C | C | C | C | C | C |
| 350 | 10.1 | 4.98 | 29.73 | 1.98 | C | C | C | C | C | C |
| 351 | 10.13 | 5.01 | 30.52 | 2.1 | C | C | C | C | C | C |
| 352 | 10.07 | 5.05 | 31.07 | 1.87 | C | C | C | C | C | C |
| 353 | 10.05 | 5.0 | 29.94 | 2.06 | C | C | C | C | C | C |
| 354 | 10.06 | 5.11 | 29.37 | 2.1 | C | C | C | C | C | C |
| 355 | 10.04 | 4.9 | 29.04 | 1.93 | C | C | C | C | C | C |
| 356 | 10.13 | 5.06 | 29.65 | 2.13 | C | C | C | C | C | C |
| 357 | 10.02 | 5.0 | 29.62 | 2.16 | C | C | C | C | C | C |
| 358 | 10.07 | 4.95 | 30.76 | 2.01 | C | C | C | C | C | C |
| 359 | 10.09 | 5.04 | 29.03 | 2.12 | C | C | C | C | C | C |
| 360 | 10.0 | 5.04 | 30.72 | 2.16 | C | C | C | C | C | C |
| 361 | 10.12 | 4.96 | 28.98 | 2.12 | C | C | C | C | C | C |
| 362 | 10.02 | 5.01 | 30.81 | 2.16 | C | C | C | C | C | C |
| 363 | 10.13 | 5.1 | 28.99 | 1.89 | C | C | C | C | C | C |
| 364 | 10.05 | 5.1 | 29.81 | 2.13 | C | C | C | C | C | C |
| 365 | 10.06 | 4.89 | 29.82 | 2.0 | C | C | C | C | C | C |
| 366 | 10.02 | 5.05 | 30.73 | 2.12 | C | C | C | C | C | C |
| 367 | 10.03 | 5.0 | 29.73 | 1.96 | C | C | C | C | C | C |
| 368 | 10.01 | 5.09 | 29.84 | 2.08 | C | C | C | C | C | C |
| 369 | 10.09 | 5.11 | 29.32 | 2.02 | C | C | C | C | C | C |
| 370 | 10.11 | 4.96 | 29.68 | 2.11 | C | C | C | C | C | C |
| 371 | 10.01 | 4.87 | 29.85 | 2.1 | C | C | C | C | C | C |
| 372 | 10.02 | 5.03 | 30.72 | 2.09 | C | C | C | C | C | C |
| 373 | 10.07 | 5.0 | 30.01 | 2.06 | C | C | C | C | C | C |
| 374 | 10.1 | 4.88 | 29.56 | 2.11 | C | C | C | C | C | C |
| 375 | 10.0 | 5.12 | 29.07 | 2.09 | C | C | C | C | C | C |
| 376 | 10.04 | 5.06 | 29.99 | 1.83 | C | C | C | C | C | C |
| 377 | 10.08 | 4.89 | 29.03 | 1.95 | C | C | C | C | C | C |
| 378 | 10.1 | 4.87 | 30.64 | 2.07 | C | C | C | C | C | C |
| 379 | 10.12 | 4.91 | 29.95 | 2.02 | C | C | C | C | C | C |
| 380 | 10.13 | 5.06 | 29.77 | 2.13 | C | C | C | C | C | C |
| 381 | 10.02 | 5.0 | 30.89 | 1.97 | C | C | C | C | C | C |
| 382 | 10.05 | 4.92 | 29.7 | 2.11 | C | C | C | C | C | C |
| 383 | 10.05 | 5.0 | 29.87 | 1.93 | C | C | C | C | C | C |
| 384 | 10.0 | 4.96 | 29.2 | 1.87 | C | C | C | C | C | C |
| 385 | 10.03 | 5.03 | 29.31 | 2.04 | C | C | C | C | C | C |
| 386 | 10.02 | 4.98 | 29.68 | 2.16 | C | C | C | C | C | C |
| 387 | 10.13 | 5.07 | 30.22 | 2.17 | C | C | C | C | C | C |
| 388 | 10.03 | 5.0 | 30.66 | 2.12 | C | C | C | C | C | C |
| 389 | 10.04 | 5.03 | 30.83 | 2.0 | C | C | C | C | C | C |
| 390 | 10.07 | 5.1 | 30.15 | 2.08 | C | C | C | C | C | C |
| 391 | 10.09 | 4.91 | 29.17 | 2.06 | C | C | C | C | C | C |
| 392 | 10.06 | 5.1 | 29.92 | 1.95 | C | C | C | C | C | C |
| 393 | 10.03 | 5.07 | 30.04 | 2.06 | C | C | C | C | C | C |
| 394 | 10.06 | 5.1 | 30.48 | 1.88 | C | C | C | C | C | C |
| 395 | 10.04 | 5.04 | 30.01 | 1.94 | C | C | C | C | C | C |
| 396 | 10.02 | 5.09 | 29.58 | 2.04 | C | C | C | C | C | C |
| 397 | 10.07 | 5.13 | 29.08 | 1.95 | C | C | C | C | C | C |
| 398 | 10.03 | 5.02 | 29.37 | 2.05 | C | C | C | C | C | C |
| 399 | 10.06 | 4.96 | 29.21 | 1.96 | C | C | C | C | C | C |
| 400 | 10.01 | 5.05 | 29.46 | 2.09 | C | C | C | C | C | C |
| 401 | 10.07 | 4.9 | 29.17 | 2.02 | C | C | C | C | C | C |
| 402 | 10.02 | 5.11 | 29.35 | 2.14 | C | C | C | C | C | C |
| 403 | 10.08 | 4.89 | 29.83 | 2.09 | C | C | C | C | C | C |
| 404 | 10.07 | 5.09 | 29.64 | 1.97 | C | C | C | C | C | C |
| 405 | 10.07 | 4.92 | 30.85 | 2.17 | C | C | C | C | C | C |
| 406 | 10.05 | 5.11 | 28.89 | 2.14 | C | C | C | C | C | C |
| 407 | 10.06 | 5.08 | 30.26 | 2.01 | C | C | C | C | C | C |
| 408 | 10.03 | 4.93 | 30.8 | 2.05 | C | C | C | C | C | C |
| 409 | 10.08 | 4.93 | 30.1 | 2.01 | C | C | C | C | C | C |
| 410 | 10.02 | 5.07 | 29.6 | 2.16 | C | C | C | C | C | C |
| 411 | 10.09 | 4.97 | 30.66 | 2.13 | C | C | C | C | C | C |
| 412 | 10.05 | 4.97 | 29.92 | 2.14 | C | C | C | C | C | C |
| 413 | 10.11 | 5.01 | 29.53 | 2.04 | C | C | C | C | C | C |
| 414 | 10.01 | 5.05 | 30.14 | 1.98 | C | C | C | C | C | C |
| 415 | 10.08 | 4.88 | 29.14 | 1.86 | C | C | C | C | C | C |
| 416 | 10.09 | 5.01 | 30.74 | 1.96 | C | C | C | C | C | C |
| 417 | 10.1 | 5.11 | 30.64 | 1.96 | C | C | C | C | C | C |
| 418 | 10.07 | 4.97 | 30.28 | 2.14 | C | C | C | C | C | C |
| 419 | 10.01 | 5.09 | 30.14 | 1.98 | C | C | C | C | C | C |
| 420 | 10.01 | 5.03 | 29.79 | 1.85 | C | C | C | C | C | C |
| 421 | 10.02 | 5.13 | 31.01 | 2.04 | C | C | C | C | C | C |
| 422 | 10.04 | 5.0 | 29.13 | 2.15 | C | C | C | C | C | C |
| 423 | 10.11 | 4.96 | 30.3 | 2.08 | C | C | C | C | C | C |
| 424 | 10.05 | 4.94 | 29.77 | 1.95 | C | C | C | C | C | C |
| 425 | 10.0 | 4.92 | 29.34 | 2.1 | C | C | C | C | C | C |
| 426 | 10.09 | 5.07 | 30.29 | 1.89 | C | C | C | C | C | C |
| 427 | 10.02 | 5.1 | 29.18 | 1.96 | C | C | C | C | C | C |
| 428 | 10.1 | 5.06 | 29.67 | 2.03 | C | C | C | C | C | C |
| 429 | 10.09 | 4.99 | 29.64 | 2.07 | C | C | C | C | C | C |
| 430 | 10.1 | 4.97 | 29.41 | 1.97 | C | C | C | C | C | C |
| 431 | 10.11 | 4.94 | 31.01 | 1.84 | C | C | C | C | C | C |
| 432 | 10.04 | 4.98 | 30.43 | 2.04 | C | C | C | C | C | C |
| 433 | 10.1 | 5.0 | 30.16 | 1.97 | C | C | C | C | C | C |
| 434 | 10.05 | 5.12 | 29.22 | 1.95 | C | C | C | C | C | C |
| 435 | 10.12 | 5.07 | 30.81 | 1.85 | C | C | C | C | C | C |
| 436 | 10.11 | 5.08 | 30.81 | 1.96 | C | C | C | C | C | C |
| 437 | 10.03 | 5.12 | 30.99 | 2.0 | C | C | C | C | C | C |
| 438 | 10.06 | 5.02 | 29.41 | 2.0 | C | C | C | C | C | C |
| 439 | 10.08 | 5.12 | 29.1 | 1.95 | C | C | C | C | C | C |
| 440 | 10.01 | 5.05 | 29.18 | 2.15 | C | C | C | C | C | C |
| 441 | 10.07 | 4.91 | 29.64 | 1.9 | C | C | C | C | C | C |
| 442 | 10.07 | 5.06 | 29.65 | 2.08 | C | C | C | C | C | C |
| 443 | 10.12 | 5.0 | 30.44 | 2.03 | C | C | C | C | C | C |
| 444 | 10.03 | 4.87 | 29.67 | 1.9 | C | C | C | C | C | C |
| 445 | 10.0 | 4.88 | 31.05 | 2.08 | C | C | C | C | C | C |
| 446 | 10.13 | 4.9 | 30.42 | 1.92 | C | C | C | C | C | C |
| 447 | 10.1 | 4.97 | 29.27 | 2.11 | C | C | C | C | C | C |
| 448 | 10.02 | 5.02 | 29.76 | 1.84 | C | C | C | C | C | C |
| 449 | 10.01 | 5.1 | 30.17 | 2.08 | C | C | C | C | C | C |
| 450 | 10.11 | 4.93 | 29.34 | 2.14 | C | C | C | C | C | C |
| 451 | 10.13 | 4.99 | 30.71 | 1.87 | C | C | C | C | C | C |
| 452 | 10.13 | 5.06 | 30.49 | 1.9 | C | C | C | C | C | C |
| 453 | 10.06 | 5.13 | 30.3 | 2.03 | C | C | C | C | C | C |
| 454 | 10.1 | 4.88 | 31.05 | 1.93 | C | C | C | C | C | C |
| 455 | 10.05 | 4.96 | 29.83 | 2.01 | C | C | C | C | C | C |
| 456 | 10.07 | 4.91 | 29.12 | 1.96 | C | C | C | C | C | C |
| 457 | 10.02 | 4.89 | 30.99 | 2.15 | C | C | C | C | C | C |
| 458 | 10.08 | 4.96 | 30.92 | 2.16 | C | C | C | C | C | C |
| 459 | 10.12 | 5.03 | 30.57 | 2.06 | C | C | C | C | C | C |
| 460 | 10.07 | 5.1 | 31.02 | 1.95 | C | C | C | C | C | C |
| 461 | 10.07 | 4.95 | 29.9 | 1.92 | C | C | C | C | C | C |
| 462 | 10.06 | 4.91 | 29.84 | 1.86 | C | C | C | C | C | C |
| 463 | 10.06 | 5.11 | 30.1 | 2.08 | C | C | C | C | C | C |
| 464 | 10.07 | 4.99 | 30.31 | 1.93 | C | C | C | C | C | C |
| 465 | 10.13 | 5.03 | 29.27 | 1.93 | C | C | C | C | C | C |
| 466 | 10.07 | 4.93 | 30.33 | 2.03 | C | C | C | C | C | C |
| 467 | 10.13 | 4.94 | 29.29 | 1.94 | C | C | C | C | C | C |
| 468 | 10.09 | 5.02 | 29.62 | 1.86 | C | C | C | C | C | C |
| 469 | 10.0 | 5.0 | 31.09 | 2.05 | C | C | C | C | C | C |
| 470 | 10.05 | 4.89 | 29.39 | 1.95 | C | C | C | C | C | C |
| 471 | 10.01 | 4.98 | 30.33 | 1.84 | C | C | C | C | C | C |
| 472 | 10.08 | 5.03 | 29.31 | 2.14 | C | C | C | C | C | C |
| 473 | 10.12 | 5.02 | 29.79 | 1.9 | C | C | C | C | C | C |
| 474 | 10.09 | 4.89 | 29.14 | 2.0 | C | C | C | C | C | C |
| 475 | 10.02 | 5.07 | 29.03 | 2.07 | C | C | C | C | C | C |
| 476 | 10.03 | 5.02 | 29.26 | 2.11 | C | C | C | C | C | C |
| 477 | 10.0 | 5.0 | 30.53 | 1.89 | C | C | C | C | C | C |
| 478 | 10.11 | 4.87 | 31.04 | 2.03 | C | C | C | C | C | C |
| 479 | 10.03 | 5.08 | 30.97 | 1.87 | C | C | C | C | C | C |
| 480 | 10.02 | 5.04 | 30.31 | 1.95 | C | C | C | C | C | C |
| 481 | 10.02 | 5.12 | 30.63 | 1.95 | C | C | C | C | C | C |
| 482 | 10.07 | 4.98 | 30.15 | 2.06 | C | C | C | C | C | C |
| 483 | 10.02 | 5.0 | 31.09 | 1.89 | C | C | C | C | C | C |
| 484 | 10.01 | 4.9 | 30.28 | 2.06 | C | C | C | C | C | C |
| 485 | 10.07 | 5.02 | 29.67 | 1.89 | C | C | C | C | C | C |
| 486 | 10.11 | 5.02 | 29.35 | 2.01 | C | C | C | C | C | C |
| 487 | 10.02 | 5.11 | 29.97 | 1.96 | C | C | C | C | C | C |
| 488 | 10.01 | 4.97 | 29.91 | 2.16 | C | C | C | C | C | C |
| 489 | 10.09 | 5.0 | 29.95 | 2.15 | C | C | C | C | C | C |
| 490 | 10.03 | 4.98 | 28.96 | 2.03 | C | C | C | C | C | C |
| 491 | 10.03 | 5.05 | 30.73 | 2.13 | C | C | C | C | C | C |
| 492 | 10.07 | 4.89 | 30.05 | 2.0 | C | C | C | C | C | C |
| 493 | 10.06 | 4.91 | 30.94 | 1.87 | C | C | C | C | C | C |
| 494 | 10.01 | 4.92 | 29.84 | 2.04 | C | C | C | C | C | C |
| 495 | 10.07 | 5.06 | 29.18 | 1.87 | C | C | C | C | C | C |
| 496 | 10.02 | 5.02 | 30.42 | 1.9 | C | C | C | C | C | C |
| 497 | 10.12 | 4.88 | 30.84 | 2.02 | C | C | C | C | C | C |
| 498 | 10.11 | 5.09 | 31.0 | 2.05 | C | C | C | C | C | C |
| 499 | 10.01 | 4.91 | 29.82 | 2.1 | C | C | C | C | C | C |
| 500 | 10.11 | 4.89 | 29.68 | 2.16 | C | C | C | C | C | C |
| 501 | 10.11 | 5.0 | 30.48 | 1.99 | C | C | C | C | C | C |
| 502 | 10.02 | 4.95 | 30.07 | 2.1 | C | C | C | C | C | C |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Average | 10.07 | 5.0 | 30.0 | 2.01 | C | C | C | C | C | C |
| Std Dev | 0.007 | 1.68 | 6.66 | 2.693 |  |  |  |  |  |  |
| Certified | 10.07 | 5.0 | 30.0 | 2.01 | C | C | C | C | C | C |

C: Complies with the acceptance criteria, NC: Not complies with the acceptance criteria

**Certification Process:** Analysis of product conformity is conducted in accordance to the standard operating procedure defined by the Company. All the procedures are in accordance to the international standards and validated.

**Analysis:** MRI complies with the inhouse specification. MRI has passed the above-mentioned inspection tests.

**Expiration of Certification:** This certificate of MRI with V254. 543 is valid for months after the purchase date.


**Description:** Measuring device.

**Instruction for use:** As per the insctruction given .

**Labeling Requirements:** Companies MRI complies with the labeling requirements of ISO 15223-1:2021, EN 1041: 2008+A1:2013 and Labeling requirements of .

**Storage conditions:** .

**Reference standards:** ISO 13485



**Verified By:** \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: 25-08-2022

Sumit

Analytical chemist

(in-charge Quality Control)